## Sheet1
Hashboard	Frequency	Nominal TH	Measured DC Bus Voltage	Measured DC Bus Amperage	Measured AC Watts	AC Efficiency	Measured DC Watts	DC Efficiency	Cooling Method	Air Baffle Fan Speed (2× 38mm)	Temperatures
S19J Pro+	810	49.84	14.15	99.8	1679	33.69	1413.00	28.35	Stock Enclosure w/ Air Baffles	66.00%	54, 54, 41, 41
S19J Pro+	785	48.3	14	95.92	1586	32.84	1343.00	27.81	Stock Enclosure w/ Air Baffles	64.00%	53, 53, 40, 40
S19J Pro+	760	46.82	13.84	91.2	1487	31.76	1262.00	26.95	Stock Enclosure w/ Air Baffles	63.00%	53, 53, 40, 40
S19J Pro+	735	45.27	13.69	87.21	1399	30.90	1194.00	26.38	Stock Enclosure w/ Air Baffles	58.00%	52, 52, 40, 40
S19J Pro+	710	43.73	13.56	82.85	1318	30.14	1123.00	25.68	Stock Enclosure w/ Air Baffles	53.00%	52, 52, 39, 39
S19J Pro+	684	42.19	13.41	78.95	1238	29.34	1059.00	25.10	Stock Enclosure w/ Air Baffles	53.00%	51, 51, 39, 39
S19J Pro+	660	40.65	13.26	74.68	1159	28.51	990.90	24.38	Stock Enclosure w/ Air Baffles	48.00%	51, 51, 38, 38
S19J Pro+	635	39.12	13.11	71.13	1100	28.12	932.50	23.84	Stock Enclosure w/ Air Baffles	48.00%	51, 51, 38, 38
S19J Pro+	610	37.62	12.95	66.95	1029	27.35	867.10	23.05	Stock Enclosure w/ Air Baffles	40.00%	50, 50, 36, 36
S19J Pro+	585	36	12.82	63.42	974	27.06	838.20	23.28	Stock Enclosure w/ Air Baffles	40.00%	50, 50, 36, 36
S19J Pro+	560	34.5	12.57	59.99	918	26.61	788.60	22.86	Stock Enclosure w/ Air Baffles	38.00%	49, 49, 37, 37
S19J Pro+	535	32.4	12.52	57.25	857	26.45	735.60	22.70	Stock Enclosure w/ Air Baffles	34.00%	49, 49, 37, 37
S19J Pro+	510	31.4	12.37	54.3	803	25.57	687.00	21.88	Stock Enclosure w/ Air Baffles	34.00%	49, 49, 36, 36
S19J Pro+	485	29.9	12.21	51.05	753	25.18	640.50	21.42	Stock Enclosure w/ Air Baffles	29.00%	48, 48, 36, 36
S19J Pro+	460	28.37	12.06	49.21	711	25.06	593.40	20.92	Stock Enclosure w/ Air Baffles	28.00%	48, 48, 36, 36
S19J Pro+	435	26.83	11.95	46.49	669	24.93	555.50	20.70	Stock Enclosure w/ Air Baffles	23.00%	47, 47, 36, 36
S19J Pro+	410	25.29	11.94	44.25	637	25.19	528.50	20.90	Stock Enclosure w/ Air Baffles	23.00%	47, 47, 36, 36
S19J Pro+	385	23.75	11.94	42.03	605	25.47	502.20	21.15	Stock Enclosure w/ Air Baffles	22.00%	47, 47, 36, 36
S19J Pro+	360	22.2	11.94	39.82	575	25.90	475.60	21.42	Stock Enclosure w/ Air Baffles	20.00%	46, 46, 36, 36
S19J Pro+	335	20.7	11.94	37.64	545	26.33	449.60	21.72	Stock Enclosure w/ Air Baffles	19.00%	46, 46, 36, 36
S19J Pro+	310	19.12	11.94	35.09	511	26.73	421.00	22.02	Stock Enclosure w/ Air Baffles	16.00%	46, 46, 35, 35
S19J Pro+	285	17.58	11.94	33.09	481	27.36	394.30	22.43	Stock Enclosure w/ Air Baffles	14.00%	45, 45, 35, 35
S19J Pro+	260	16	11.94	30.85	452	28.25	368.50	23.03	Stock Enclosure w/ Air Baffles	14.00%	45, 45, 35, 35